## Scope of Work for Modernisation of Lifts

### Lift Control System Modernisation

Remove the existing lift control system and replace it with a modern open-protocol control panel designed to provide long-term reliability and ease of maintenance. The new control system shall be fully integrated with all associated lift equipment and provide improved diagnostics, performance, and future parts availability.

Works shall include:

- Removal of the existing obsolete control panel and associated closed-protocol equipment.

- Installation of a new lift control panel and associated control equipment.

- Replacement of the car top control station to meet current operational and safety requirements.

- Installation of a new shaft positioning system and shaft limit devices.

- Provision of a new load-weighing device.

- Replacement of the existing car operating panel, including push buttons and position indication.

- Replacement of all landing call stations and associated push buttons.

- Installation of new landing position indicators.

- Complete electrical rewiring of the lift installation, including travelling cables and associated control wiring as required.

The electrical installation shall be upgraded to comply with current electrical safety standards and to eliminate existing issues associated with ageing wiring infrastructure.

### Hydraulic System Replacement

Remove the existing hydraulic power unit and replace it with a new hydraulic system to improve reliability, performance, and compliance with current safety requirements.

Works shall include:

- Removal of the existing hydraulic tank, pump motor, and valve block.

- Installation of a new hydraulic power unit comprising tank, motor, and valve assembly.

- Replacement of ram seals.

- Visual inspection of the hydraulic cylinder and associated equipment.

- Installation of an A3 safety device to provide protection against unintended car movement and improve compliance with current lift safety standards.

### Door Operator Modernisation

The existing door operator equipment is heavily worn and obsolete. The system shall be removed and replaced with a modern door operator designed to provide smooth, reliable operation and improved maintainability. Works shall include:

- Removal of the existing door operator assembly.

- Installation of a new door operator system complete with motor, drive components, belts, pulleys, control equipment, and associated fixings.

- Commissioning and adjustment of door operating speeds and safety parameters.

The new system shall incorporate modern control technology to ensure smooth opening and closing cycles and improve passenger safety and comfort.

### Landing Door Equipment Overhaul

Inspect all landing entrances and overhaul or replace worn components to ensure safe and reliable operation throughout the installation. Works shall include the inspection and replacement, where required, of:

- Door rollers.

- Pulleys.

- Door locks.

- Air cords.

- Door shoes.

- Door closing mechanisms.

- Other associated running gear components.

The objective is to improve door performance, reduce future maintenance requirements, and ensure safe operation of all landing entrances.

### Lift Car Equipment Upgrades

Upgrade obsolete and non-compliant lift car equipment to improve reliability, safety, and maintainability. Works shall include:

- Replacement of the existing car top control station with a modern compliant unit.

- Replacement of obsolete lift car push buttons and associated control interfaces.

- Installation of new position indication equipment as part of the control system modernisation.

These upgrades will improve operational reliability and ensure that replacement parts remain readily available for future maintenance requirements.

### Lighting Upgrades

Upgrade lighting throughout the lift installation to improve visibility, safety, and compliance with current regulations.

Motor Room Lighting:

- Remove existing lighting equipment.

- Install new LED lighting complete with emergency lighting functionality.

Lift Car Lighting:

- Install a new hinged ceiling arrangement complete with LED downlights.

- Provide emergency battery backup lighting in accordance with current standards.

Lift Shaft Lighting:

- Remove or isolate existing shaft lighting where required.

- Install a new LED shaft lighting system throughout the lift shaft.

- Provide emergency lighting functionality to ensure safe access for maintenance personnel during power failure conditions.

All lighting installations shall be designed to achieve current recommended illumination levels and comply with applicable regulations.

### Emergency Communication System

Upgrade the lift emergency communication system to provide reliable communication in the event of passenger entrapment.

Works shall include:

- Installation of a new four-way emergency communication system.

- Provision of a new autodialler unit.

- Installation of a GSM communication module.

- System programming, testing, and commissioning.

The completed installation shall provide compliant emergency communication functionality and improved reliability.

## Associated Works

Upon completion of the modernisation works, the following activities shall be undertaken:

- Full cleaning of the lift shaft and pit area.

- Removal of accumulated dust, debris, and redundant materials.

- Preparation and painting of the lift pit area to improve cleanliness and provide a sealed finish.

- Removal and environmentally responsible disposal of all waste materials generated during the works.

## Testing, Commissioning and Handover

Following completion of all installation activities, comprehensive testing and commissioning shall be undertaken to verify the correct operation of all equipment and safety systems. The commissioning process shall include:

- Functional testing of all lift operating systems.

- Verification of safety circuits and protection devices.

- Testing of door operation and passenger safety systems.

- Testing of emergency communication systems.

- Verification of lighting and emergency lighting functionality.

- Rectification of any identified defects or snagging items.

- Final inspection and certification prior to return to service.

The lift shall only be returned to normal operation once all testing has been successfully completed and the installation is confirmed as safe, compliant, and fit for purpose.

## Recommended Future Improvements

The following items have been identified as beneficial improvements but are not considered essential to the safe operation of the lift:

### Lift Car Refurbishment

The lift car interior is showing signs of age, wear, and cosmetic damage. Consideration should be given to a full interior refurbishment, including replacement wall finishes, mirror panels, handrails, and flooring to improve the overall appearance and passenger experience.

### Landing Entrance Renewal

The existing landing door panels and entrance assemblies show signs of wear and deterioration. Full replacement of landing doors, headers, sills, and associated running equipment would provide a long-term solution, improve aesthetics, and further enhance reliability