## Up-gradation of Existing Lift in Residential Building No. 1

## 1. Scope of Works

The works comprise the survey, design, manufacture, delivery, installation, testing, commissioning and handover of one modernised lift at Residential Building 15-16 Chesham Place, SW1X 9JN

The Contractor shall coordinate the works with the Client and Main Contractor and shall provide the necessary project management, site survey, installation supervision, testing, certification and handover documentation.

## 2. Lift Modernisation

The modernisation works shall include:

- New lift machine.

- New lift controller.

- New energy-efficient, lubrication-free flat belts.

- New shaft wiring.

- New permanent shaft lighting.

- New COP2000 car operating panel.

- New multimedia screen.

- New car operating pushbuttons.

- New landing pushbuttons.

- Associated lift control and electrical equipment required for a complete operational installation.

- Emergency two-way voice communication system.

- VVVF drive technology.

- Low Voltage Architecture.

- Regen energy-efficient technology where included within the proposed system.

The Contractor shall carry out all necessary adjustments and commissioning to ensure the modernised lift operates correctly and safely.

Rated load, rated speed, travel, number of stops, car dimensions, door dimensions and other final performance data shall be confirmed against the approved technical drawings and final technical schedule prior to manufacture.

The Company must be registered in the United Kingdom and must have a minimum of five (5) years of relevant experience in the required field.

## Up-gradation of Existing Lift in Residential Building No. 2

## 1. Scope of Works

The works comprise the survey, design, preparation, manufacture/supply of modernisation equipment, delivery, installation, testing, commissioning and handover of one existing lift 5 Barkston Gardens, SW5 0ER (5 Floors).

The works shall include project management, site survey, removal and reinstatement of equipment, machine overhaul, electrical/control modernisation, testing, certification and handover.

## 2. Existing Lift Machine Overhaul

A principal part of the proposed modernisation is the overhaul of the existing lift machine.

The works shall include:

- Removal of the existing machine from the shaft and transportation to the loading area.

- Transportation of the machine to Otis’ Barking works.

- Removal of the handwheel and stator windings.

- Inspection, testing and decontamination of the stator windings.

- Dismantling of the high-speed shaft from the machine casing.

- Removal and inspection of bearings and seals.

- Inspection of the shaft for wear and checking for true running using a lathe.

- Supply and installation of new bearings, seals and gaskets.

- Rebuilding of the gear assembly.

- Checking of thrust and backlash.

- Replenishment of gear oil to the correct level.

- Reinstallation and connection of the stator and handwheel.

- Brake re-tensioning.

- Reconnection of supply cables.

- Return transportation of the overhauled machine to site.

- Reinstallation and final adjustment of the machine.

The Contractor shall carry out all necessary adjustments and commissioning to ensure the modernised lift operates correctly and safely.

Rated load, rated speed, travel, number of stops, car dimensions, door dimensions and other final performance data shall be confirmed against the approved technical drawings and final technical schedule prior to manufacture.

The Company must be registered in the United Kingdom and must have a minimum of five (5) years of relevant experience in the required field.