# Scope of Work for Refurbishment of Kitchen, Flat 5, 5 Barkston Gardens

## Project Overview

The works comprise the complete refurbishment of the existing kitchen, including demolition, installation of new finishes, replacement of kitchen units and appliances, plumbing and electrical upgrades, decoration works, and site clearance.

## Demolition and Strip-Out Works

The contractor shall:

- Remove and dispose of all existing floor and wall tiles within the kitchen area.

- Dismantle and remove existing kitchen cabinets and worktop units.

- Disconnect, dismantle, and remove all existing gas, electrical, and water-connected appliances.

- Remove associated fixtures, fittings, and redundant materials as required.

- Protect adjacent surfaces and access routes during demolition works.

## Floor Preparation and Tiling

The contractor shall:

- Supply and install water-resistant cement backer boards to the kitchen floor substrate.

- Prepare floor surfaces to receive new finishes.

- Supply and install A-Grade floor tiles to approximately 18 m².

- Provide all necessary adhesives, trims, grout, and finishing materials.

- Ensure tiles are level, aligned, and finished to a professional standard.

## Wall Tiling

The contractor shall:

- Prepare wall surfaces for tiling.

- Supply and install A-Grade wall tiles to approximately 7 m².

- Provide all required tile trims, adhesives, grout, and sealants.

- Finish all tiled surfaces neatly and watertight where required.

## Kitchen Cabinet Installation

The contractor shall:

- Supply and install new kitchen cabinets and associated fittings.

- Ensure cabinets are level, securely fixed, and aligned.

- Adjust doors, hinges, and drawers for proper operation.

- Complete all necessary finishing works around installed cabinetry.

## Plumbing Works

The contractor shall:

- Install new plumbing connections as required for the refurbished kitchen.

- Connect all sinks, taps, waste pipes, and water supply services.

- Test all plumbing installations for leaks and proper operation.

## Gas Works

The contractor shall:

- Supply and install a new gas cooker.

- Carry out all gas connections in accordance with current Gas Safe regulations.

- Test and commission the appliance upon completion.

## Appliance Installation

The contractor shall:

- Install and commission all kitchen appliances.

- Supply and install a new exhaust hood.

- Connect all electrical, water, drainage, and gas services as required.

- Test all appliances for proper operation.

## Electrical Works

The contractor shall:

- Supply and install new LED spotlights within the kitchen area.

- Supply and install new LED tube lighting where indicated.

- Make all necessary electrical connections and modifications.

- Test and certify electrical installations in accordance with applicable regulations.

## Decoration Works

The contractor shall:

### Kitchen Decoration

- Prepare surfaces and apply Dulux paint to kitchen walls.

- Apply primer, undercoat, and finish coats as required.

### Ceiling Decoration

- Prepare and paint all kitchen ceiling surfaces.

### Woodwork and Metalwork Decoration

- Prepare and paint doors.

- Prepare and paint window frames.

- Prepare and paint skirting boards.

- Prepare and paint radiators.

All painting works shall include filling, sanding, caulking, and surface preparation necessary to achieve a smooth, durable finish.

Waste Removal and Site Clearance

The contractor shall:

- Remove all demolition waste, packaging, surplus materials, and construction debris.

- Maintain a clean and safe working environment throughout the project.

- Leave the site clean, tidy, and ready for occupation upon completion.

## 13. Completion

Upon completion, the contractor shall:

- Test and commission all installed services and appliances.

- Ensure all works are completed in accordance with applicable building regulations and industry standards.

- Conduct a final inspection with the client and rectify any identified defects prior to handover.